LymTal International, Inc.

Waterproofing Products

Guide Specification

Section 07102

ISO-FLEX PRESSURE LOK SYSTEM

## PART 1 – GENERAL

  - WORK INCLUDED

The work shall consist of furnishing and installing expansion joints in accordance with the details shown on the plans and the requirements of the specifications.

  - SUBMITTALS

- Template Drawings – Submit typical expansion joint cross section(s) indicating pertinent dimensioning and relationship to adjacent trades.

## PART 2 – PRODUCTS

  - MATERIALS

The joint seal shall be an extruded preformed neoprene/EPDM rubber surface and shall be adhered into place using a two-component epoxy adhesive.  The design of the seal shall accommodate movements of up to 30% through compression and extension of itself.

For horizontal and vertical expansion joints furnish Iso-Flex Pressure Lok System as manufactured by Lymtal International and as indicated on drawings.  Select the appropriate size of the seal based upon project conditions.

  - COMPONENT PROPERTIES

- Extruded Seal

Provide seal as specified and indicated on the contract drawings.  Seal material shall meet the following physical properties indicated below:

## TECHNICAL DATA FROM LABORATORY TESTS

Physical Properties of the Neoprene/EPDM Seal

Property				Test Method		Results

Tensile Strength			ASTM D 412		2000psi

Elongation @ break			ASTM D 412		250% min

Hardness				Shore A Durometer	55(5

Compression Set			ASTM D 573

70 hrs. @ 212( F

Tensile Strength max					20% loss

Elongation max					20% loss

Hardness Type A durometer				0 to + 10 pts

Oil Swell, ASTM Oil No. 3		ASTM D 471

70 hrs @ 212(F

weight change, max.					45

U.V. Resistance						Excellent

- Two Component Epoxy Adhesive

Provide epoxy adhesive material that meets the following physical properties:

###### Physical Properties of Adhesive

Property				Results

A.  Material				Two component thixotropic paste

B.  Tensile Strength			4200 psi

C.  Axial Compression		8950 psi

D.  Solids Hardness			5 MOHS

E.  Pot Life				35 minutes @ 68(F (20(C)

F.  Flash Point				Greater than 200(F (93(C)

G.  Initial Cure			24 Hours

H.  Final Cure				7 Days @ 68(F

- Fabrication

Joint seal directional changes can be easily site welded where required.

PART 3 – EXECUTION

  - General

- Prior to the installation of the expansion joint seal, the installer shall visit the site and notify the proper authority in writing of any conditions which might be detrimental to the installation or performance of the expansion joint system.

- All work shall be performed in parallel, clean, dry, sound expansion joint gap openings.

  - Preparation

- The contractor shall provide properly formed, solid joint gaps with clean, sound concrete free of voids and honeycombs and in accordance with the dimensions detailed in the drawings.  Repair any areas not meeting this criterion.

- The contractor shall clean the joint gap of all contaminants by sandblasting immediately prior to application of the two-component epoxy adhesive.  Concrete form release agents, laitance, surface dirt and rust, old sealants and other surface treatments, as well as anything which would inhibit the bond of the epoxy adhesive must be removed from the joint gap surface prior to beginning the installation of the system.

- The joint gap area must be completely dry for the application of the epoxy adhesive.  Concrete must be fully cured (28 days) prior to placement of the epoxy adhesive.  Joint gaps requiring the use of patching compounds must be cured for 72 hours prior to placement of the Iso-flex epoxy adhesive system.

- The joint gap openings must be made to the dimensions and elevations shown on the standard system drawings.

- The preformed seal element shall be unpackaged and laid in a relaxed position to relieve any temporary coiling from shipment packaging prior to placement. Thoroughly clean the serrated sides of the gland element using the supplied Conditioning agent and a wire brush/drill.

- Work shall not proceed under adverse weather conditions or when temperatures are outside the manufacture’s recommended ranges.

  - Installation

- The installation of the expansion joint system shall be completed in strict accordance with the manufacturer’s recommendations.

- Mix the adhesive in accordance with the manufacturer’s recommendations.  Apply a thin layer of adhesive to the serrated sides of the joint seal.  The ribs must be completely filled.

- If necessary, from one end of the seal vacuum the air out of the joint seal until it reaches a width dimension that ensures easy installation into the joint gap.

- Insert the seal in the gap to the appropriate depth.  Check the ribs for proper adhesive coverage.  Fill in any voids.

- Release the air, allowing the seal to expand out against the joint gap walls.

- Remove any additional adhesive from the joint gap using an organic solvent.

  - Clean and Protect

Protect the Iso-Flex Pressure Lok System during construction.  Heavy construction vehicles will not be permitted to cross the joint without specific and written permission by the engineer.  Subsequential damage to the expansion joint system shall be repaired at the contractor’s expense.